DNA CLEAN-UP WITH SPRI BEADS

Solid Phase Reversible Immobilization (SPRI) beads. SPRI beads are paramagnetic (magnetic only in a magnetic field) made of polystyrene surrounded by a layer of magnetite, which is coated with carboxyl molecules. It is these that reversibly bind DNA in the presence of the “crowding agent” polyethylene glycol (PEG) and salt (20% PEG, 2.5M NaCl). PEG causes the negatively-charged DNA to bind with the carboxyl groups on the bead surface. As the immobilization is dependent on the concentration of PEG and salt in the reaction, the volumetric ratio of beads to DNA is critical. SPRI beads are very efficient, even at low concentration.

- FOR METABARCODING: Pool PCR triplicates together in the same PCR tube. After running 2l of PCR product on the electrophoresis gel, each PCR replicate should contain a total of      l, and hence  ~     l once pooled. However, with pipetting errors and evaporation, we probably have only      l left. Aliquot     l of the product to a new tube to do the clean-up. Store the remaining      l in the -20°C as a back-up.

FOR BARCODING: After running 2l of PCR product on the electrophoresis gel, each PCR should contain a total of      l. However, with pipetting errors and evaporation, we probably have only      l left. Clean-up the entire sample.

- Vortex the beads before use.

- FOR METABARCODING: Add     l beads to     l of PCR product to obtain a ratio of 1:1.6. Pipette up and down 10 times. IMPORTANT: Avoid pipetting air and create bubbles when mixing.

FOR BARCODING: Add     l beads to     l of PCR product to obtain a ratio of 1:1.6. Pipette up and down 10 times. IMPORTANT: Avoid pipetting air and create bubbles when mixing.

- Incubate at room temperature on bench without shaking for 5 minutes.

- Place the plate on the magnetic stand until the supernatant has cleared, at least 5 minutes.

- Remove all the liquid making sure not to disturb the beads. Pipette slowly. Remove as much liquid as possible.

- With the samples on the magnetic stand, wash the beads by adding 200l of freshly prepared 80% ethanol, and incubate for 30 seconds. Carefully remove the ethanol, without disturbing the beads.

- Repeat washing step 7.

- Remove all residual ethanol using a pipette and air dry with the samples on the magnetic stand for a minimum of 3 minutes and a maximum of 5 minutes until all traces of Ethanol are removed. Do not overdry the bead ring (it should not look cracked) as this will significantly decrease the elution efficiency.

- Remove the plate from the stand and add 21µl of nuclease free water for elution, gently pipetting up and down 10 times to resuspend the beads.

- Place the plate back on the magnetic stand at least 2 minutes or until the supernatant has cleared.

- Carefully transfer 20µl of the supernatant to a new plate.